## Device-Settings
Power Analyzer Specifications and Settings
[7 empty] | Full Load |  | Idle
| Make | Model | Serial Number | Calibration date | Range Settings Current [A] | Range Settings Voltage[V] | % of reading | % of range | % of reading | % of range
PMU1 - Database Server | HIOKI | 3334 | 90604933 | 2011-05-17 | 30 | 300 | 0.1% | 0.1% | 0.1% | 0.1%
PMU2 - Application Server | HIOKI | 3334 | 90604934 | 2011-05-17 | 3 | 300 | 0.2% | 0% | 0.1% | 0.1%
PMU3 - Storage | HIOKI | 3334 | 90604932 | 2011-05-17 | 10 | 300 | 0.2% | 0% | 0.2% | 0%
|  |  | Below 50% |  | Above 50%
| Make | Model | % of reading | % of range | %of reading | % of range
| HIOKI | 3334 | 0.1% | 0.1% | 0.2% | 0%

## REC-Energy
| PMU1 - Database Server |  | Device: | HIOKI 3334 |  | Calibrated: | 2011-05-17
Measurement Interval |  | Meter |  | Delta |  | PMU Energy
Average (watt) | 2697.51 | % of Reading | 0.1% | Reading Delta | 2.6975 | Accuracy Factor | 0.4336%
Total (watt-sec) | 19422046.2 | % of Range | 0.1% | Range Delta | 9 | Adjusted (watt-sec) | 19506268.1601
Duration (sec) | 7200 | Range (watt) | 9000 | Total Delta | 11.6975 | Avg Power (watt) | 2709.2039
| PMU2 - Application Server |  | Device: | HIOKI 3334 |  | Calibrated: | 2011-05-17
Measurement Interval |  | Meter |  | Delta |  | PMU Energy
Average (watt) | 460.29 | % of Reading | 0.2% | Reading Delta | 0.92058 | Accuracy Factor | 0.2%
Total (watt-sec) | 3314055.9 | % of Range | 0% | Range Delta | 0 | Adjusted (watt-sec) | 3320684.0118
Duration (sec) | 7200 | Range (watt) | 900 | Total Delta | 0.92058 | Avg Power (watt) | 461.2061
| PMU3 - Storage |  | Device: | HIOKI 3334 |  | Calibrated: | 2011-05-17
Measurement Interval |  | Meter |  | Delta |  | PMU Energy
Average (watt) | 1624.76 | % of Reading | 0.2% | Reading Delta | 3.2495 | Accuracy Factor | 0.2%
Total (watt-sec) | 11698248.8 | % of Range | 0% | Range Delta | 0 | Adjusted (watt-sec) | 11721645.2976
Duration (sec) | 7200 | Range (watt) | 3000 | Total Delta | 3.2495 | Avg Power (watt) | 1628.0063
PMU-4 - Monitor (Nameplate)
PMU Energy
Average (watt) | 19 |  | Lowest Temp (C) | 20.81
Duration (sec) | 7200
Total Energy (watt-sec) | 136800
Avg REC Energy (watt) | 4817.4163 |  |  | Start | End
Total REC Energy (watt-sec) | 34685397.4695 |  | Reported MI | 2011-07-13 10:34 | 2011-07-13 12:34
Run Duration (sec) | 7200 |  | PMU-1 = Tier B | 2011-07-13 10:34 | 2011-07-13 12:34 | OK
Reported tpsE | 4414.79 |  | PMU-2 = Tier A | 2011-07-13 10:34 | 2011-07-13 12:34 | OK
Total Transactions | 31786488 |  | PMU-3 = Storage | 2011-07-13 10:34 | 2011-07-13 12:34 | OK
Energy (watts/tpsE) | 1.0912 |  |  | OK | OK

## REC-Idle
| PMU1 - Database Server |  | Device: | HIOKI 3334 |  | Calibrated: | 2011-05-17
Idle Interval |  | Meter |  | Delta |  | PMU Energy
Average (Watt) | 1702.65 | % of Reading | 0.1% | Reading Delta | 1.7027 | Accuracy Factor | 0.6286%
Total (Watt-sec) | 1021587.6 | % of Range | 0.1% | Range Delta | 9 | Adjusted (watt-sec) | 1028009.1749
Duration (sec) | 600 | Range (Watt) | 9000 | Total Delta | 10.7027 | Avg Power (watt) | 1713.3486
| PMU2 - Application Server |  | Device: | HIOKI 3334 |  | Calibrated: | 2011-05-17
Idle Interval |  | Meter |  | Delta |  | PMU Energy
Average (Watt) | 215.49 | % of Reading | 0.1% | Reading Delta | 0.21549 | Accuracy Factor | 0.5177%
Total (Watt-sec) | 129296.8 | % of Range | 0.1% | Range Delta | 0.9 | Adjusted (watt-sec) | 129966.1085
Duration (sec) | 600 | Range (Watt) | 900 | Total Delta | 1.1155 | Avg Power (watt) | 216.6102
| PMU3 - Storage |  | Device: | HIOKI 3334 |  | Calibrated: | 2011-05-17
Idle Interval |  | Meter |  | Delta |  | PMU Energy
Average (Watt) | 1560.52 | % of Reading | 0.2% | Reading Delta | 3.121 | Accuracy Factor | 0.2%
Total (Watt-sec) | 936310.7 | % of Range | 0% | Range Delta | 0 | Adjusted (watt-sec) | 938183.3214
Duration (sec) | 600 | Range (Watt) | 3000 | Total Delta | 3.121 | Avg Power (watt) | 1563.6389
PMU-4 = Monitor (Nameplate)
PMU Energy |  |  | Lowest Temp (C) | 21.19
Average (Watt) | 0.5
|  |  |  | Start | End
Idle Power (watt) | 3494.0977 |  | Reported Run | --- | 2011-07-13 13:04
|  |  | PMU-1 = Tier B | 2011-07-13 13:13 | 2011-07-13 13:23 | OK
|  |  | PMU-2 = Tier A | 2011-07-13 13:13 | 2011-07-13 13:23 | OK
|  |  | PMU-3 = Storage | 2011-07-13 13:13 | 2011-07-13 13:23 | OK
|  |  |  | OK | OK

## E-Results
TPC-E Transaction Report
BenchCraft Version |  | 2.4.20 |  | % Nominal
|  |  |  | 100% | 4600
Measurement Window: |  |  |  | 80% | 3640
Start = | 2011-07-13 10:34 |  | tpsE = | 95.97% | 4414.79
End = | 2011-07-13 12:34 |  |  | 95.97% | 4414.8
Length = | 7200 | seconds |  | 102% | 4692