## REC Energy
| PMU-1 = Tier B |  | Device: | Hioki 3334 |  | Calibrated: | 2010-06-07
Measurement Interval |  | Meter |  | Delta |  | PMU Energy
Average (watt) | 532.32 | % of Reading | 0.2% | Reading Delta | 1.0646 | Accuracy Factor | 0.2%
Total (watt-sec) | 3832686.5 | % of Range | 0% | Range Delta | 0 | Adjusted (watt-sec) | 3840351.873
Duration (sec) | 7200 | Range (watt) | 900 | Total Delta | 1.0646 | Avg Power (watt) | 533.3822
| PMU-2 = Tier A |  | Device: | Hioki 3334 |  | Calibrated: | 2010-06-07
Measurement Interval |  | Meter |  | Delta |  | PMU Energy
Average (watt) | 142.56 | % of Reading | 0.1% | Reading Delta | 0.14256 | Accuracy Factor | 0.3104%
Total (watt-sec) | 1026426.1 | % of Range | 0.1% | Range Delta | 0.3 | Adjusted (watt-sec) | 1029612.5137
Duration (sec) | 7200 | Range (watt) | 300 | Total Delta | 0.44256 | Avg Power (watt) | 143.0017
| PMU-3 = Storage |  | Device: | Hioki 3334 |  | Calibrated: | 2010-06-07
Measurement Interval |  | Meter |  | Delta |  | PMU Energy
Average (watt) | 485.09 | % of Reading | 0.2% | Reading Delta | 0.97018 | Accuracy Factor | 0.2%
Total (watt-sec) | 3492614 | % of Range | 0% | Range Delta | 0 | Adjusted (watt-sec) | 3499599.228
Duration (sec) | 7200 | Range (watt) | 900 | Total Delta | 0.97018 | Avg Power (watt) | 486.0554
PMU-4 = Monitor (Nameplate)
PMU Energy
Average (watt) | 19 |  | Lowest Temp (C) | 20.81
Duration (sec) | 7200
Total Energy (watt-sec) | 136800
Avg REC Energy (watt) | 1181.4394 |  |  | Start | End
Total REC Energy (watt-sec) | 8506363.6147 |  | Reported MI | 2011-01-17 10:25 | 2011-01-17 12:25
Run Duration (sec) | 7200 |  | PMU-1 = Tier B | 2011-01-17 10:25 | 2011-01-17 12:25 | OK
Reported tpsE | 1268.3 |  | PMU-2 = Tier A | 2011-01-17 10:25 | 2011-01-17 12:25 | OK
Total Transactions | 9131760 |  | PMU-3 = Storage | 2011-01-17 10:25 | 2011-01-17 12:25 | OK
Energy (watts/tpsE) | 0.93151 |  |  | OK | OK

## REC Idle
| PMU-1 = Tier B |  | Device: | Hioki 3334 |  | Calibrated: | 2010-06-07
Idle Interval |  | Meter |  | Delta |  | PMU Energy
Average (Watt) | 229.59 | % of Reading | 0.1% | Reading Delta | 0.22959 | Accuracy Factor | 0.492%
Total (Watt-sec) | 137755.2 | % of Range | 0.1% | Range Delta | 0.9 | Adjusted (watt-sec) | 138432.9599
Duration (sec) | 600 | Range (Watt) | 900 | Total Delta | 1.1296 | Avg Power (watt) | 230.7216
| PMU-2 = Tier A |  | Device: | Hioki 3334 |  | Calibrated: | 2010-06-07
Idle Interval |  | Meter |  | Delta |  | PMU Energy
Average (Watt) | 84.88 | % of Reading | 0.1% | Reading Delta | 0.08488 | Accuracy Factor | 0.4534%
Total (Watt-sec) | 50925.3 | % of Range | 0.1% | Range Delta | 0.3 | Adjusted (watt-sec) | 51156.2158
Duration (sec) | 600 | Range (Watt) | 300 | Total Delta | 0.38488 | Avg Power (watt) | 85.2604
| PMU-3 = Storage |  | Device: | Hioki 3334 |  | Calibrated: | 2010-06-07
Idle Interval |  | Meter |  | Delta |  | PMU Energy
Average (Watt) | 464.52 | % of Reading | 0.2% | Reading Delta | 0.92904 | Accuracy Factor | 0.2%
Total (Watt-sec) | 278712.8 | % of Range | 0% | Range Delta | 0 | Adjusted (watt-sec) | 279270.2256
Duration (sec) | 600 | Range (Watt) | 900 | Total Delta | 0.92904 | Avg Power (watt) | 465.4504
PMU-4 = Monitor (Nameplate)
PMU Energy |  |  | Lowest Temp (C) | 20.75
Average (Watt) | 0.5
|  |  |  | Start | End
Idle Power (watt) | 781.9323 |  | Reported Run | --- | 2011-01-17 13:24
|  |  | PMU-1 = Tier B | 2011-01-17 13:30 | 2011-01-17 13:40 | OK
|  |  | PMU-2 = Tier A | 2011-01-17 13:30 | 2011-01-17 13:40 | OK
|  |  | PMU-3 = Storage | 2011-01-17 13:30 | 2011-01-17 13:40 | OK
|  |  |  | OK | OK

## E Results
TPC-E Transaction Report
BenchCraft Version |  | 2.4.20 |  | % Nominal
|  |  |  | 100% | 1280
Measurement Window: |  |  |  | 80% | 1024
Start = | 2011-01-17 10:25 |  | tpsE = | 99.09% | 1268.3
End = | 2011-01-17 12:25 |  |  | 99.09% | 1268.3057
Length = | 7200 | seconds |  | 102% | 1305.6