## Device-Settings
Power Analyzer Specifications and Settings
[7 empty] | Full Load |  | Idle
| Make | Model | Serial Number | Calibration date | Range Settings Current [A] | Range Settings Voltage[V] | % of reading | % of range | % of reading | % of range
PMU1 - Database Server | HIOKI | 3334 | 90604934 | 2012-05-10 | 3 | 300 | 0.2% | 0% | 0.1% | 0.1%
PMU2 - Application Server | HIOKI | 3334 | 90604933 | 2012-05-10 | 1 | 300 | 0.1% | 0.1% | 0.1% | 0.1%
PMU3 - Storage | HIOKI | 3334 | 90604932 | 2012-05-10 | 3 | 300 | 0.2% | 0% | 0.2% | 0%
|  |  | Below 50% |  | Above 50%
| Make | Model | % of reading | % of range | %of reading | % of range
| HIOKI | 3334 | 0.1% | 0.1% | 0.2% | 0%

## REC-Energy
| PMU1 - Database Server |  | Device: | HIOKI 3334 |  | Calibrated: | 2012-05-10
Measurement Interval |  | Meter |  | Delta |  | PMU Energy
Average (watt) | 591.23 | % of Reading | 0.2% | Reading Delta | 1.1825 | Accuracy Factor | 0.2%
Total (watt-sec) | 4256862.457 | % of Range | 0% | Range Delta | 0 | Adjusted (watt-sec) | 4265376.1819
Duration (sec) | 7199.989 | Range (watt) | 900 | Total Delta | 1.1825 | Avg Power (watt) | 592.4143
| PMU2 - Application Server |  | Device: | HIOKI 3334 |  | Calibrated: | 2012-05-10
Measurement Interval |  | Meter |  | Delta |  | PMU Energy
Average (watt) | 100.59 | % of Reading | 0.1% | Reading Delta | 0.10059 | Accuracy Factor | 0.3982%
Total (watt-sec) | 724275.39 | % of Range | 0.1% | Range Delta | 0.3 | Adjusted (watt-sec) | 727159.7471
Duration (sec) | 7200.005 | Range (watt) | 300 | Total Delta | 0.40059 | Avg Power (watt) | 100.9943
| PMU3 - Storage |  | Device: | HIOKI 3334 |  | Calibrated: | 2012-05-10
Measurement Interval |  | Meter |  | Delta |  | PMU Energy
Average (watt) | 577.26 | % of Reading | 0.2% | Reading Delta | 1.1545 | Accuracy Factor | 0.2%
Total (watt-sec) | 4156285.59 | % of Range | 0% | Range Delta | 0 | Adjusted (watt-sec) | 4164598.1612
Duration (sec) | 7200.005 | Range (watt) | 900 | Total Delta | 1.1545 | Avg Power (watt) | 578.416
PMU-4 - Monitor (Nameplate)
PMU Energy
Average (watt) | 17 |  | Lowest Temp (C) | 20.13
Duration (sec) | 7200
Total Energy (watt-sec) | 122400
Avg REC Energy (watt) | 1288.8246 |  |  | Start | End
Total REC Energy (watt-sec) | 9279534.0902 |  | Reported MI | 2012-07-02 14:18 | 2012-07-02 16:18
Run Duration (sec) | 7200 |  | PMU-1 = Tier B | 2012-07-02 14:18 | 2012-07-02 16:18 | OK
Reported tpsE | 1871.81 |  | PMU-2 = Tier A | 2012-07-02 14:18 | 2012-07-02 16:18 | OK
Total Transactions | 13477032 |  | PMU-3 = Storage | 2012-07-02 14:18 | 2012-07-02 16:18 | OK
Energy (watts/tpsE) | 0.68854 |  |  | OK | OK

## REC-Idle
| PMU1 - Database Server |  | Device: | HIOKI 3334 |  | Calibrated: | 2012-05-10
Idle Interval |  | Meter |  | Delta |  | PMU Energy
Average (Watt) | 238.42 | % of Reading | 0.1% | Reading Delta | 0.23842 | Accuracy Factor | 0.4775%
Total (Watt-sec) | 143059.192 | % of Range | 0.1% | Range Delta | 0.9 | Adjusted (watt-sec) | 143742.2783
Duration (sec) | 600.024 | Range (Watt) | 900 | Total Delta | 1.1384 | Avg Power (watt) | 239.5609
| PMU2 - Application Server |  | Device: | HIOKI 3334 |  | Calibrated: | 2012-05-10
Idle Interval |  | Meter |  | Delta |  | PMU Energy
Average (Watt) | 58.76 | % of Reading | 0.1% | Reading Delta | 0.05876 | Accuracy Factor | 0.6106%
Total (Watt-sec) | 35257.16 | % of Range | 0.1% | Range Delta | 0.3 | Adjusted (watt-sec) | 35472.4231
Duration (sec) | 600.009 | Range (Watt) | 300 | Total Delta | 0.35876 | Avg Power (watt) | 59.1198
| PMU3 - Storage |  | Device: | HIOKI 3334 |  | Calibrated: | 2012-05-10
Idle Interval |  | Meter |  | Delta |  | PMU Energy
Average (Watt) | 543.71 | % of Reading | 0.2% | Reading Delta | 1.0874 | Accuracy Factor | 0.2%
Total (Watt-sec) | 326220.777 | % of Range | 0% | Range Delta | 0 | Adjusted (watt-sec) | 326873.2186
Duration (sec) | 599.993 | Range (Watt) | 900 | Total Delta | 1.0874 | Avg Power (watt) | 544.7951
PMU-4 = Monitor (Nameplate)
PMU Energy |  |  | Lowest Temp (C) | 20.25
Average (Watt) | 0.4
|  |  |  | Start | End
Idle Power (watt) | 843.8758 |  | Reported Run | --- | 2012-07-02 16:38
|  |  | PMU-1 = Tier B | 2012-07-02 16:45 | 2012-07-02 16:55 | OK
|  |  | PMU-2 = Tier A | 2012-07-02 16:45 | 2012-07-02 16:55 | OK
|  |  | PMU-3 = Storage | 2012-07-02 16:45 | 2012-07-02 16:55 | OK
|  |  |  | OK | OK

## E-Results
TPC-E Transaction Report
BenchCraft Version |  | 2.4.20 |  | % Nominal
|  |  |  | 100% | 1880
Measurement Window: |  |  |  | 80% | 1504
Start = | 2012-07-02 14:18 |  | tpsE = | 99.56% | 1871.81
End = | 2012-07-02 16:18 |  |  | 99.56% | 1871.8199
Length = | 7200 | seconds |  | 102% | 1917.6